## Sheet1
experiment | t0 | tn | database | exclude | calibration | wall
S_I_e0_ESHL | 2020-07-07 15:00 | 2020-07-07 18:00 | eshl_summer | außen,3l_kü,3l_wz,4l,2l,1l,bd,bd_original, | eshl_calibration | eshl_summer_wall
S_I_e1_ESHL | 2020-07-09 17:58 | 2020-07-09 20:30 | eshl_summer | außen,3l_kü,3l_wz,4l,2l,1l,bd,bd_original | eshl_calibration | eshl_summer_wall
S_I_KT_on_ESHL | 2020-07-08 10:18 | 2020-07-08 11:10 | eshl_summer | außen,3l_kü,3l_wz,4l,2l,1l,bd,bd_original | eshl_calibration | eshl_summer_wall
S_H_e0_ESHL | 2020-07-08 15:20 | 2020-07-08 21:40 | eshl_summer | außen,3l_kü,3l_wz,4l,2l,1l,bd,bd_original | eshl_calibration | eshl_summer_wall
S_H_e1_ESHL | 2020-07-09 13:08 | 2020-07-09 16:40 | eshl_summer | außen,3l_kü,3l_wz,4l,2l,1l,bd,bd_original | eshl_calibration | eshl_summer_wall
S_H_KT_on_ESHL | 2020-07-08 13:05 | 2020-07-08 14:15 | eshl_summer | außen,3l_kü,3l_wz,4l,2l,1l,bd,bd_original | eshl_calibration | eshl_summer_wall
W_I_e0_ESHL | 2020-02-26 15:49 | 2020-02-26 18:00 | eshl_winter2 | außen,3l_kü,3l_wz,4l,2l,1l | eshl_calibration | eshl_winter_wall
W_I_e1_ESHL | 2020-02-26 21:26 | 2020-02-26 23:17 | eshl_winter2 | außen,3l_kü,3l_wz,4l,2l,1l | eshl_calibration | eshl_winter_wall
W_I_KT_on_ESHL | 2020-02-26 19:10 | 2020-02-26 19:55 | eshl_winter2 | außen,3l_kü,3l_wz,4l,2l,1l | eshl_calibration | eshl_winter_wall
W_H_e0_ESHL | 2020-02-26 03:26 | 2020-02-26 08:30 | eshl_winter2 | außen,3l_kü,3l_wz,4l,2l,1l | eshl_calibration | eshl_winter_wall
W_H_e1_ESHL | 2020-02-27 01:32 | 2020-02-27 04:09 | eshl_winter2 | außen,3l_kü,3l_wz,4l,2l,1l | eshl_calibration | eshl_winter_wall
W_H_KT_on_ESHL | 2020-02-26 11:07 | 2020-02-26 12:30 | eshl_winter2 | außen,3l_kü,3l_wz,4l,2l,1l | eshl_calibration | eshl_winter_wall
S_I_e0_Herdern | 2019-08-15 14:46 | 2019-08-15 18:39 | cbo_summer | 1a,1l,2l,3l,4a_testo,4l,außen | cbo_calibration | cbo_summer_wall
S_I_e1_Herdern | 2019-08-13 13:08 | 2019-08-13 17:00 | cbo_summer | 1a,1l,2l,3l,4a_testo,4l,außen | cbo_calibration | cbo_summer_wall
S_H_e0_Herdern | 2019-08-16 11:18 | 2019-08-16 16:43 | cbo_summer | 1a,1l,2l,3l,4a_testo,4l,außen | cbo_calibration | cbo_summer_wall
S_H_e1_Herdern | 2019-08-20 11:32 | 2019-08-20 16:55 | cbo_summer | 1l,1a_testo,1t,2a_testo,2l,3l,4a_testo,4l,außen | cbo_calibration | cbo_summer_wall
W_I_e0_Herdern | 2020-01-30 12:13 | 2020-01-30 16:00 | cbo_winter | 1a,1l,1l_sub,2l,3f,3l,4a,4a_sub,4a_testo,4l,5flur,5treppe,außen,tr,weather | cbo_calibration | cbo_winter_wall
W_I_e1_Herdern | 2020-01-28 18:10 | 2020-01-28 21:34 | cbo_winter | 1a,1l,1l_sub,2l,3f,3l,4a,4a_sub,4a_testo,4l,5flur,5treppe,außen,tr,weather | cbo_calibration | cbo_winter_wall
W_H_e0_Herdern | 2020-01-29 14:49 | 2020-01-29 18:49 | cbo_winter | 1a,1l,1l_sub,2l,3f,3l,4a,4a_sub,4a_testo,4l,5flur,5treppe,außen,tr,weather | cbo_calibration | cbo_winter_wall
W_H_e1_Herdern | 2020-01-31 11:17 | 2020-01-31 14:20 | cbo_winter | 1a,1l,1l_sub,2l,3f,3l,4a,4a_sub,4a_testo,4l,5flur,5treppe,außen,tr,weather | cbo_calibration | cbo_winter_wall
Note on A1: Raghavakrishna Devineni: These names should be given as input for analysis. Alternatively you could create a simple GUI to select this column.
Note on E1: Raghavakrishna Devineni: These seonsors are excluded from evaluation
Note on F1: Raghavakrishna Devineni: The database to look for calibration regression equations.
Note on A14: Raghavakrishna Devineni: No outdoor CO2 data
Note on A15: Raghavakrishna Devineni: No outdoor CO2 data

## inputs
experiment | temp_diff | volume_flow | volume_flow_uncertainty | volume | volume_uncertainty | n_nom | n_nom_uncertainty | tau_nom | tau_nom_uncertainty
S_I_e0_Herdern | -1 | 48 | 7 | 185 | 1 | 0.26 | 0.04 | 3.83 | 0.58
S_I_e1_Herdern | -1.3 | 93 | 17 | 185 | 1 | 0.5 | 0.09 | 1.98 | 0.36
S_H_e0_Herdern | 2.8 | 39 | 9 | 185 | 1 | 0.21 | 0.05 | 4.69 | 1.02
S_H_e1_Herdern | -5.6 | 80 | 13 | 185 | 1 | 0.43 | 0.07 | 2.31 | 0.38
W_I_e0_Herdern | -2.9 | 48 | 7 | 185 | 1 | 0.26 | 0.04 | 3.83 | 0.58
W_I_e1_Herdern | -11 | 93 | 17 | 185 | 1 | 0.5 | 0.09 | 1.98 | 0.36
W_H_e0_Herdern | -8.5 | 39 | 9 | 185 | 1 | 0.21 | 0.05 | 4.69 | 1.02
W_H_e1_Herdern | -1.7 | 80 | 13 | 185 | 1 | 0.43 | 0.07 | 2.31 | 0.38
S_I_e0_ESHL | 1.4 | 90 | 8 | 134 | 1 | 0.67 | 0.06 | 1.49 | 0.13
S_I_e1_ESHL | 6.9 | 128 | 13 | 134 | 1 | 0.96 | 0.1 | 1.04 | 0.1
S_I_KT_on_ESHL | -0.3 | 361 | 26 | 134 | 1 | 2.7 | 0.2 | 0.37 | 0.03
S_H_e0_ESHL | 0.2 | 27 | 3 | 134 | 1 | 0.2 | 0.02 | 4.92 | 0.47
S_H_e1_ESHL | 8.4 | 68 | 11 | 134 | 1 | 0.51 | 0.08 | 1.97 | 0.31
S_H_KT_on_ESHL | 2.4 | 301 | 25 | 134 | 1 | 2.25 | 0.19 | 0.45 | 0.04
W_I_e0_ESHL | -15.5 | 90 | 8 | 134 | 1 | 0.67 | 0.06 | 1.49 | 0.13
W_I_e1_ESHL | -18.2 | 128 | 13 | 134 | 1 | 0.96 | 0.1 | 1.04 | 0.1
W_I_KT_on_ESHL | -16.9 | 361 | 26 | 134 | 1 | 2.7 | 0.2 | 0.37 | 0.03
W_H_e0_ESHL | -15.7 | 27 | 3 | 134 | 1 | 0.2 | 0.02 | 4.92 | 0.47
W_H_e1_ESHL | -16.7 | 68 | 11 | 134 | 1 | 0.51 | 0.08 | 1.97 | 0.31
W_H_KT_on_ESHL | -17.1 | 301 | 25 | 134 | 1 | 2.25 | 0.19 | 0.45 | 0.04
Note on A1: Raghavakrishna Devineni: All the inputs are previously calculated using python and the corresponding results with its uncertainties are listed here to reduce computing power. Parameters like volume flow and volume are calculated with outmost precision, It would be waste to resources to calculate them again and again. So the results are directly loaded from this sheet.

## naming_CBO_winter
old_name | new_name | old_name | new_name | old_name | new_name | old_name | new_name
Date / time | datetime | Date / time | datetime | Datum / Uhrzeit | datetime | testo400-650-950 | Sno
sec Runtime | runtime | sec Runtime | runtime | SecRuntime | runtime | Date | date
hPa (1) | hPa | hPa (1) | hPa | °C temp._2467500 | RH_°C | Time | time
PpmCO2 3.1 (9) | CO2_ppm | PpmCO2 4.1 (28) | CO2_ppm | %rH rel humidity_2467500 | RH_%rH | ppm CO2 | CO2_ppm
%rH (1) | RH_%rH | m/s 2.1 (28) | hb_m/sec | °C Temp._2445076 | CO2_°C | m/s | hb_m/sec
°C (1) | RH_°C | °C 2.2 (28) | hb_°C | %rF Rel.Feu_2445076 | CO2_%rH | °C | hb_°C
m/s 1.1 (9) | hw_m/sec | °C 3.1 (28) | gb_°C | ppm CO2_2445076 | CO2_ppm | m/s.1 | hw_m/sec
°C 1.2 (9) | hw_°C | %rH (1) | RH_%rH | °C Temp._2435567 | hw_°C | °C.1 | hw_°C
°C 2.1 (9) | gb_°C | °C (1) | RH_°C | m/s Str.Ge_2435567 | hw_m/sec
m/s 4.1 (9) | hb_m/sec | m/s 1.1 (28) | hw_m/sec | m/s Str.Ge_3408940 | hb_m/sec
°C 4.2 (9) | hb_°C | °C 1.2 (28) | hw_°C | °C Temp._3408940 | hb_°C
Note on A1: Raghavakrishna Devineni: SZ 01 CBO winter
Note on D1: Raghavakrishna Devineni: SZ 02 CBO winter
Note on G1: Raghavakrishna Devineni: WZ CBO winter
Note on J1: Raghavakrishna Devineni: BD winter

## naming_CBO_summer
old_name | new_name | old_name | new_name | old_name | new_name | old_name | new_name
Datum / Uhrzeit | datetime | Datum / Uhrzeit | datetime | Datum / Uhrzeit | datetime | testo400-650-950 | Sno
sec Laufzeit | runtime | sec Runtime | runtime | SecRuntime | runtime | Date | date
hPa (1) | hPa | hPa (1) | hPa | °C temp._2467500 | RH_°C | Time | time
PpmCO2 2.1 (28) | CO2_ppm | PpmCO2 3.1 (9) | CO2_ppm | %rH rel humidity_2467500 | RH_%rH | ppm CO2 | CO2_ppm
%rF 3.1 (28) | RH_%rH | m/s (1) | hb_m/sec | °C -076 | CO2_°C | m/s | hb_m/sec
°C 3.2 (28) | RH_°C | °C (1) | hb_°C | %rF -076 | CO2_% | °C | hb_°C
m/s 1.1 (28) | hw_m/sec | °C 1.1 (9) | gb_°C | ppm -076 | CO2_ppm | m/s.1 | hw_m/sec
°C 1.2 (28) | hw_°C | %rF 2.1 (9) | RH_%rH | °C -567 | hw_°C | °C.1 | hw_°C
°C 4.1 (28) | gb_°C | °C 2.2 (9) | RH_°C | m/s -567 | hw_m/sec
m/s (1) | hb_m/sec | m/s 4.1 (9) | hw_m/sec | m/s -940 | hb_m/sec
°C (1) | hb_°C | °C 4.2 (9) | hw_°C | °C -940 | hb_°C
|  |  |  | °C Int | gb_°C
|  |  |  | SecRuntime | runtime
|  |  |  | °C temp._2467500 | RH_°C
|  |  |  | %rH rel humidity_2467500 | RH_%rH
|  |  |  | °C Temp._2445076 | CO2_°C
|  |  |  | %rF Rel.Feu_2445076 | CO2_%rH
|  |  |  | ppm CO2_2445076 | CO2_ppm
|  |  |  | °C Temp._2435567 | hw_°C
|  |  |  | m/s Str.Ge_2435567 | hw_m/sec
|  |  |  | m/s Str.Ge_3408940 | hb_m/sec
|  |  |  | °C Temp._3408940 | hb_°C
|  |  |  | hPa Int | hPa
Note on A1: Raghavakrishna Devineni: SZ 01 CBO winter
Note on D1: Raghavakrishna Devineni: SZ 02 CBO winter
Note on G1: Raghavakrishna Devineni: WZ CBO winter
Note on J1: Raghavakrishna Devineni: BD winter

## HOBO_CBO
Sensor | Serial | Sensor | Serial
1A | 10950495 | 1A | 20274900
1b | 20269839 | 1B | 20269839
1c | 20274901 | 1C | 20274901
1d | 10773515 | 1D | 10773515
1e | 20269806 | 1E | 20269806
1L_Sub | 10773511 | 1L | 10950495
1L | 10950495 | 1T | 10950492
1T | 10950492 | 2B | 20269834
2b | 20269834 | 2C | 10773514
2c | 10773514 | 2D | 20269811
2d | 20269811 | 2E | 20269842
2e | 20269842 | 2L | 20269828
2L | 20269828 | 2T | 10950491
2T | 10950491 | 3B | 10950493
3b | 10950493 | 3C | 20269831
3c | 20269831 | 3D | 20269838
3d | 20269838 | 3E | 20269833
3e | 20269833 | 3L | 20269827
3f | 20269829 | 3T | 10773512
3L | 20269827 | 4B | 20269840
3T | 10773512 | 4C | 20269829
4b | 20269840 | 4L | 20269841
4c | 20269830 | 4T | 20269832
4L | 20269841 | außen | 20269835
4T | 20269832
5Flur | 10773513
5Treppe | 20274900
außen | 20269835
Tr | 20269836
4a | 10950494
4a_Sub | 20269837
Note on A1: Raghavakrishna Devineni: Winter measurements
Note on D1: Raghavakrishna Devineni: Summer measurements

## HOBO_ESHL
Sensor | Serial | Sensor | Serial
1a_50 | 20269827 | 1a_50 | 20269827
1b | 20269829 | 1b | 20269829
1b_50 | 10773513 | 1b_50 | 10773513
1c | 20269838 | 1c | 20269838
1d | 20269832 | 1d | 20269832
1e | 20269833 | 1e | 20269833
1L | 20269834 | 1L | 20269834
1T | 10773515 | 1T | 10773515
2a_50 | 20269839 | 2a_50 | 20269839
2b | 10773512 | 2b | 10773512
2c | 20269837 | 2c | 20269837
2c_50 | 20269830 | 2c_50 | 20269830
2d | 20269840 | 2d | 20269840
2e | 20269836 | 2e | 20269836
2L | 10950491 | 2L | 10950491
2T | 20269835 | 2T | 20269835
3a_50 | 10773511 | 3a_50 | 10773511
3b | 20269841 | 3b | 20269841
3c | 20269806 | 3c | 20269806
3c_50 | 10950493 | 3c_50 | 10950493
3d | 20274900 | 3d | 20274900
3e | 10950494 | 3e | 10950494
3f | 20269831 | 3f | 20269831
3g | 20269811 | 3g | 20269811
3h | 10950492 | 3h | 10950492
3L_Kü | 10950495 | 3L_Kü | 10950495
3L_WZ | 10773514 | 3L_WZ | 10773514
4L | 20269842 | 4L | 20269842
4T | 20274901 | 4T | 20274901
außen | 20269828 | außen | 20269828
Note on A1: Raghavakrishna Devineni: ESHL Winter naming conventions
Note on D1: Raghavakrishna Devineni: ESHL Summer naming conventions

## Testo_ESHL
old_name | new_name | old_name | new_name
Date / time | datetime | Date / time | datetime
sec Runtime | runtime | sec Runtime | runtime
hPa (1) | hPa | hPa (1) | hPa
PpmCO2 2.1 (11) | CO2_ppm | PpmCO2 (1) | CO2_ppm
%rH 3.1 (11) | RH_%rH | %rH 1.1 (11) | RH_%rH
°C 3.2 (11) | RH_°C | °C 1.2 (11) | RH_°C
m/s 4.1 (11) | hw_m/sec | m/s 2.1 (11) | hw_m/sec
°C 4.2 (11) | hw_°C | °C 2.2 (11) | hw_°C
°C 1.1 (11) | gb_°C | °C 3.1 (11) | gb_°C
m/s (1) | hb_m/sec | m/s 4.1 (11) | hb_m/sec
°C (1) | hb_°C | °C 4.2 (11) | hb_°C
Date / time | datetime | Date / time | datetime
sec Runtime | runtime | sec Runtime | runtime
hPa (1) | hPa | hPa (1) | hPa
PpmCO2 1.1 (9) | CO2_ppm | PpmCO2 (1) | CO2_ppm
m/s (1) | hb_m/sec | m/s 1.1 (9) | hb_m/sec
°C (1) | hb_°C | °C 1.2 (9) | hb_°C
°C 2.1 (9) | gb_°C | °C 2.1 (9) | gb_°C
%rH 4.1 (9) | RH_%rH | %rH 3.1 (9) | RH_%rH
°C 4.2 (9) | RH_°C | °C 3.2 (9) | RH_°C
m/s 3.1 (9) | hw_m/sec | m/s 4.1 (9) | hw_m/sec
°C 3.2 (9) | hw_°C | °C 4.2 (9) | hw_°C
Datum / Uhrzeit | datetime | Date / time | datetime
SecRuntime | runtime | SecRuntime | runtime
°C temp._2467500 | RH_°C | °C temp._2467500 | RH_°C
%rH rel humidity_2467500 | RH_%rH | %rH rel humidity_2467500 | RH_%rH
°C Temp._2445076 | CO2_°C | °C temp._2445076 | CO2_°C
%rF Rel.Feu_2445076 | CO2_%rH | %rH rel humidity_2445076 | CO2_%rH
ppm CO2_2445076 | CO2_ppm | ppm CO2_2445076 | CO2_ppm
°C Temp._2435567 | hw_°C | °C temp._2435567 | hw_°C
m/s Str.Ge_2435567 | hw_m/sec | m/s vel. flow_2435567 | hw_m/sec
testo400-650-950 | Sno | testo400-650-950 | Sno
Date | date | Date | date
Time | time | Time | time
ppm CO2 | CO2_ppm | ppm CO2 | CO2_ppm
m/s | hw_m/sec | m/s | hw_m/sec
°C | hw_°C | °C | hw_°C
Note on A1: Raghavakrishna Devineni: This sheet has the names of columns and the standardised columns. This way it is easy to identlfy the sensor and units just by seeing column name in MySQL database.
Note on B1: Raghavakrishna Devineni: Winter
Note on D1: Raghavakrishna Devineni: Summer
Note on A2: Raghavakrishna Devineni: Testo 350XL
Note on A13: Raghavakrishna Devineni: Testo 350XL
Note on A24: Raghavakrishna Devineni: Testo 480
Note on A33: Raghavakrishna Devineni: Testo 400

## wall_CBO
Sensor | Serial | Sensor | Serial
T01 | 9759956 | Tw01 | 9759956
T02 | 10811406 | Tw02 | 10811406
T03 | 1222778 | Tw03 | 1222778
T04 | 9759954 | Tw04 | 9759954
T05 | 1222769 | Tw05 | 1222769
T06 | 10811400 | Tw06 | 10811400
T07 | 10811408 | Tw07 | 10811408
T08 | 1222777 | Tw08 | 1222777
T09 | 9759955 | Tw09 | 9759955
T10 | 1222771 | Tw10 | 1222771
T11 | 1222772 | Tw11 | 1222772
T12 | 1222767 | Tw12 | 1222767
T13 | 10811409 | Tw13 | 10811409
T14 | 10811411 | Tw14 | 10811411
T15 | 10811401 | Tw15 | 10811401
T16 | 1222768 | Tw16 | 1222768
T17 | 1222770 | Tw17 | 1222770
T18 | 1222776 | Tw18 | 1222776
T19 | 1222765 | Tw19 | 1222765
T20 | 1222775 | Tw20 | 1222775
T21 | 10811404 | Tw21 | 10811404
T22 | 9759958 | Tw22 | 9759958
T23 | 10811399 | Tw23 | 10811399
T24 | 10811398 | Tw24 | 10811398
Note on A1: Raghavakrishna Devineni: Winter measurements
Note on D1: Raghavakrishna Devineni: Summer measurements

## wall_ESHL
sensor | position | tablename | sensor | position | tablename
T01 | LR_floor | t01 | T01 | LR_east | t01
T02 | LR_ceiling | t02 | T02 | LR_north | t02
T03 | LR_north | t03 | T03 | LR_west | t03
T04 | LR_east | t04 | T04 | LR_south | t04
T05 | LR_south | t05 | T07 | BD1_east | t07
T06 | LR_west | t06 | T08 | BD1_north | t08
T07 | BD1_floor | t07 | T09 | BD1_west | t09
T08 | BD1_ceiling | t08 | T10 | BD1_south | t10
T09 | BD1_north | t09 | T11 | BD2_floor | t11
T10 | BD1_east | t10 | T13 | BD2_east | t13
T11 | BD1_south | t11 | T14 | BD2_north | t14
T12 | BD1_west | t12 | T15 | BD2_west | t15
T13 | BD2_floor | t13 | T16 | BD2_south | t16
T14 | BD2_ceiling | t14
T15 | BD2_north | t15
T16 | BD2_east | t16
T17 | BD2_south | t17
T18 | BD2_west | t18
T19 | Bath_floor | t19
T20 | Bath_ceiling | t20
T21 | Bath_north | t21
T22 | Bath_east | t22
T23 | Bath_south | t23
T24 | Bath_west | t24
T25 | LR_roof_north | t25
T26 | LR_roof_east | t26
T27 | LR_roof_south | t27
T28 | LR_roof_west | t28
T29 | BD1_roof_east | t29
T30 | BD2_roof_east | t30
Note on A1: Raghavakrishna Devineni: Summer measurements
Note on E1: Raghavakrishna Devineni: Winter measurements